Biological Indicator Incubator——B80

Product Description

The B80 Biological Indicator Incubator is compact, versatile, reliable and easy to use. Designed for single temperature incubation of the EO Biological Indicators. The thermometer is included with the incubator, provides easy verification of incubation temperature.

Features:

- Energy-efficient design.

- Applicable to 24V power adapter.

- Accurate to ± 0.3℃.

- Process of experiment is visible.

- Electronic calibration. User can reset to any local standard.

- Power supply provided is UL, CSA and CE approved.

- Custom blocks made to fit any sample holder.

Parameters:

| Type Parameters | B80 |
| --- | --- |
| Temp. range | RT+5℃~100℃ |
| Temp. accuracy | ≤±0.3℃ |
| Timing range | 1min~99h |
| Temp. uniformity | ≤±0.3℃ |
| Display accuracy | 0.1℃ |
| Temp. stability | ±0.3℃ |
| Heating time | ≤6min( 20℃~56℃) |
| Voltage | DC24V/1.67A |
| Dimension(mm) | 145×113×110 |
| Weight(kg) | 0.5 |

Optional Blocks:

Type     Tube Diameter     Capacity

MD40    Φ10mm           15

MD41    Φ12mm           12

MD42    Φ15mm            8

MD43    Φ16mm            8

MD45    Φ9mm            18