Orbital Shaker—MPS-10

Description:

MPS-10 Orbital Shaker is a high speed shaker with direct brushless DC motor and microprocessor controlled technique. It can be applicable in different laboratories: in microbiology, biotechnology, medical analysis, etc.

Features:

- LCD displays time and shaking speed.

- Easy to operate with one-touch knob.

- Warm root and variety of platforms can be chosen.

- When time control ends, instrument will make alarm voice.

- Gentle and reliable shaking with direct brushless DC motor.

Parameters:

| Type Parameter | MPS-10 |
| --- | --- |
| Time range | 1min ~ 99h59min |
| Speed range | 50～300rpm |
| Orbit | 10mm |
| Capacity(PP-1 tray) | 8pcs petri dishes |
| Capacity(PP-2 tray) | 6×100ml or 4×250ml conical flask |
| Capacity(PP-3 tray) | 12×100ml or 6×250ml conical flask |
| Power | 50W |
| Voltage | AC100V~240V 50/60Hz |
| Dimension(mm) | 280×270×110 |
| Weight(kg) | 7.0 |