Shaker for Microplates—MS100

Description:

MS100 Shaker for Microplates is a type of high speed shaker, which is with brushless DC motor and microprocessor controlled technique, specially for elisa plates (96/384 wells), tissue culture plates (24/48/96 wells).

Features:

- LCD display system status and parameters.

- Stable and reliable shaking.

- Easy to operate with one touch knob.

- Automatic fault detection and buzzer alarm function.

Parameters:

| Type Parameter | MS100 |
| --- | --- |
| Time range | 1min ~ 99h59min |
| Speed range | 200～1500rpm |
| Mixing orbit | 3mm |
| Speed step value | 10rpm |
| Sample capacity | 4plates |
| Power | 45W |
| Voltage | AC100V~240V 50/60Hz |
| Dimension(mm) | 280×270×110 |
| Weight(kg) | 4.0 |