Multi-tube Vortexer—MS200

## Description:

Multi-Tube Vortexer is with technique of brushless DC motor and microprocessor controlled technique. Unique knob operation is easy to use. It can maximum process 50 samples at once. A variety of test tube foams can be selected to meet the mixing needs of different test tubes. It can be widely used in the biotechnology, microbiology, medical analysis and other industries.

Features:

- LED displays time and shaking speed.

- Easy to operate with one-touch knob.

- 1min~99h59min time range, automatic warning sound when finish working.

- A variety of test tube foam racks for option to meet the mixing needs of different test tubes.

- Soft start, uniform acceleration, effectively avoid samples splashing.

- Brushless DC motor: precise shaking speed, long service life maintenance-free.

- Process up to 50 samples at a time to make the experiment more convenient and efficient.

- Microprocessor control, simple operation panel, LED displays for speed and time.

- Humanized program design, built-in short mix and timing operation modes.

Parameters

| Project | Parameter |  |  |
| --- | --- | --- | --- |
| Speed range | 500~2500rpm |  |  |
| Orbit | 4mm |  |  |
| Temp setting range | 1min ~100hour |  |  |
| Max load | 4.5kg |  |  |
| Power supply | 70W |  |  |
| Voltage | AC110~220V 50/60Hz |  |  |
| Capacity | Type | Foam rack | Test tube |
|  | MS200-T10 | 50x￠10mm | ￠9~￠10mm |
|  | MS200-T12 | 50x￠12mm | ￠11~￠13mm |
|  | MS200-T15 | 50x￠15mm | ￠14~￠17mm |
|  | MS200-T20 | 50x￠20mm | ￠18~￠21mm |
|  | MS200-T25 | 15x￠25mm | ￠24~￠27mm |
|  | MS200-T29 | 15x￠29mm | ￠28~￠32mm |
| Dimension(mm) | 410x276x432 |  |  |
| Weight(kg) | 20 |  |  |