Shaker for Microplates—TS200

Description:

TS200 Shaker for Microplates is with technique of direct brushless DC motor and PID intelligent temperature control. Mainly used for shaking and cultivation in elisa plates (96/384 wells), tissue culture plates (24/48/96 wells).

Features:

- LCD displays system status and parameters.

- Stable and reliable operation with high quality switch.

- Easy to operate with one touch knob.

- Set-up the time within 0~100hours, instrument will make alarm voice when completing.

- With power recovery, instrument will be continuous to run when power recovers from outage.

Applications:

- Maintaining 14°C for ligation reactions.

- Maintaining 17°C for storing oocytes.

- Storing samples at ice bucket temperatures.

- Storing enzymes or DNA libraries at your workstation.

- Transporting samples from the field at exactly the right temperature.

- Heating samples in the field.

- Enzyme reactions and deactivations.

- PCR sample preparation.

| Type Parameter | TS200 |
| --- | --- |
| Temp. range | RT.+5℃ ~80℃ |
| Timing range | 1min ~ 99h59min |
| Speed range | 200～1600rpm |
| Orbit | 3mm |
| Temp. Accuracy | ≤±0.5℃ |
| Display Accuracy | 0.1℃ |
| Temp. Uniformity | ≤±0.5℃ |
| Heating time | ≤10min(from RT. to 80℃) |
| Sample capacity | 2PCS microplates or culture plates |
| Heating part | Heating film |
| Power | 150W |
| Voltage | AC100V~240V |
| Dimension(mm) | 280×270×140 |
| Weight(kg) | 7.0 |