Orbital Shaker—MPS-20

Description:

MPS-20 Orbital Shaker is a high speed shaker with brushless DC motor and microprocessor controlled technique. Mix and culture all kinds of flask, petri dish and beaker, by changing different platforms. It can be applicable in different laboratories: biotechnology, microbiology and medicine analysis, etc.

Features：

- LCD displays time and shaking speed.

- With special Forwards/Reverse shaking and pause function, it can be shaking intermittently.

- Beep alarm when operation ends.

- Different platforms can be chosen for variety demands.

- Soft start, uniform acceleration, effectively avoid splash sample.

- Gentle and reliable shaking with direct brushless DC motor.

Parameters:

| Type Parameter | MPS-20 |
| --- | --- |
| Timing range | 1min~99h59min |
| Forwards/Reverse shaking | Yes |
| Timing range for Forwards/Reverse shaking | 0-99min |
| Timing range for pause | 0-99sec |
| Shaking speed | 50~250rpm |
| Orbit | 20mm |
| Max. load | 2.5kg |
| Power | 35W |
| Votltage | AC110~240V, 50/60Hz |
| Dimension(with PP-1)(mm) | 280×270×110 |
| Weight(with PP-1)(kg) | 8.2 |

Optional Platforms

| Type | Description |
| --- | --- |
| PP-1 | Flat platform for 8pcs petri dish |
| PP-2 | Universal platform with adjustable bars, for 6x100ml or 4x250ml conical flask |
| PP-3 | Platform with clamps for 12x100ml conical flask |
| PP-3 | Platform with clamps for 6x250ml conical flask |