Mini Dry Bath Incubator—MiniBox

Description:

Minibox is a microprocessor-controlled product. It is widely used in preservation and reactions of sample, DNA amplification and initial denaturation of electrophoresis and so forth. It fits almost anywhere and can even be used in cars, boats or wherever a 24 volt power source is available.

Features:

- Energy-efficient design.

- Applicable to 24V power adapter.

- Accurate to ± 0.3℃.

- Process of experiment is visible.

- Electronic calibration. User can reset to any local standard.

- Power supply provided is UL, CSA and CE approved.

- Custom blocks made to fit any sample holder.

Parameters:

| Type Parameters | Minibox |
| --- | --- |
| Temp. range | RT.+5℃~100℃ |
| Temp. accuracy | ≤±0.3℃ |
| Time range | 1min~99h |
| Temp. uniformity | ≤±0.3℃ |
| Display accuracy | 0.1℃ |
| Temp. stability | ±0.3℃ |
| Heating time | ≤20min(from 40℃ to 100℃ ) |
| Voltage | DC24V/1.67A |
| Dimension(mm) | 145×113×110 |
| Weight(kg) | 0.5 |

Optional Blocks:

Type        Description

MiniBoxA    15×2.0ml

MiniBoxB    15×1.5ml

MiniBoxC    24×0.5ml

MiniBoxD    32×0.2ml (for 0.2ml PCR 8-tube strip)

MiniBoxF    32×0.2ml (for 0.2ml Elisa 8-well strip)