Multi-Rotator——RS100

Description:

Multi-Rotator is a high speed shaker with brushless DC motor and microprocessor controlled technique. Mix and culture many kinds of centrifuge tubes, by changing different platforms. It can be applicable in different laboratories: biotechnology, microbiology and medicine analysis, etc.

Features：

- LCD displays time and shaking speed.

- Easy to operate with touch knob.

- Setup the time of 1min~99h59min. Beep alarms when operation ends.

- Different platforms can be chosen for variety demands.

- Gentle and reliable shaking with brushless DC motor.

- Programmable motions include: 1) orbital rotational motion, 2) reciprocal motion, 3) pause. Not only run in one particular type, but also alternate motions of different types cyclically.

Parameters:

| Model | RS100 |
| --- | --- |
| Shaking speed | 10~100rpm |
| Timing range | 1min-99h59min |
| Time for orbital rotational and reciprocal motions | 1-250s |
| Time for pause | 1-5s |
| Max. load | 6kg |
| Power | 25W |
| Voltage | AC110~240V, 50/60Hz |
| Dimension(mm) | 485x200x226 |
| Weight(kg) | 5.90 |

Optional Platforms:

| Type | Picture | Description |
| --- | --- | --- |
| PRS-01 |  | Two sides can accommodate 44 tubes of 1.5ml/2.0ml vertically |
| PRS-02 |  | Two sides can accommodate 40 tubes of 1.5ml/2.0ml horizontally |
| PRS-03 |  | Two sides can accommodate 32 tubes of 5ml vertically |
| PRS-04 |  | Two sides can accommodate 40 tubes of 5ml horizontally |
| PRS-05 |  | Two sides can accommodate 12 tubes of 10ml/15ml vertically |
| PRS-06 |  | Two sides can accommodate 16 tubes of 10ml/15ml horizontally |
| PRS-07 |  | Two sides can accommodate 12 tubes of 50ml vertically |
| PRS-08 |  | Two sides can accommodate 16 tubes of 50ml horizontally |

Optional Platforms:

| Type | Description |
| --- | --- |
| PRS-01 | Two sides can accommodate 44 tubes of 1.5ml vertically |
| PRS-02 | Two sides can accommodate 40 tubes of 1.5ml horizontally |
| PRS-03 | Two sides can accommodate 32 tubes of 5ml vertically |
| PRS-04 | Two sides can accommodate 40 tubes of 5ml horizontally |
| PRS-05 | Two sides can accommodate 12 tubes of 10ml/15ml vertically |
| PRS-06 | Two sides can accommodate 16 tubes of 10ml/15ml horizontally |
| PRS-07 | Two sides can accommodate 12 tubes of 50ml vertically |
| PRS-08 | Two sides can accommodate 16 tubes of 50ml horizontally |