Roller Mixer—RM100

Description:

RM100 Roller Mixer is a compact digital roller for use with a variety of containers, including test tubes, centrifuge tubes and roller bottles. Roller Mixer provides a efficient rolling and swinging motion, ideal for mixing blood samples, viscous substances and liquid-solid suspensions. It is used for prevention of blood coagulation and immune precipitation etc. From blood collection tubes to roller bottles, the Roller Mixer is the deal choice for research and clinical laboratories.

Features:

- Digital set-up for speed and time with independent LED display.

- Continuous or timer operation.

- Maintenance free brushless DC motor.

- Maximum stirring speed up to 99rpm.

- Rolling & Swinging action for complete mixing.

- With special Forwards/Reverse motion.

- Compatible for use with wide range of tubes/bottles from 8mm to 200mm diameter.

Parameters:

| Model | RM100 |
| --- | --- |
| Speed range | 20~99rpm |
| Operation mode | Rolling & Swinging |
| Timing range | 1min~99h59min/∞ |
| Forwards/Reverse motion | Yes |
| Timer for Forwards/Reverse | 30sec~99min59sec |
| Amplitude | 25mm |
| Roller quantity | 6 |
| Roller length | 280mm |
| Max. load | 4kg |
| Power | 15W |
| Voltage | AC100~240V 50/60Hz |
| Dimension(mm) | 480×250×100 |
| Weight(kg) | 3.8 |