Dry Bath Incubator——DH300,DC10

Description:

DH300/DC10 is microprocessor controlled Dry Bath Incubator. Instead of traditional water bath device, the heat-conducting medium is high purity alumium. The exact desired temperature is easily set using the arrow keys on the sloped control panel while values are shown on the large digital display. No checking of a thermometer and readjusting temperature is necessary. The user calibration feature allows for easy calibration to in house standards when required.

This product can be widely used in preservation and reaction of samples, DNA amplification, electrophoresis denaturation and serum solidification, etc.

Features:

- LCD display.

- Automatic fault detection and buzzer alarm function

- Temperature calibration function.

- Easy replacement and cleaning of block.

- Built-in over temperature protection.

- Multiple safety protection. Safe and reliable with CE standard.

- Customized blocks are accepted.

- 12-month warranty.

Parameters:

| Model | DH300 | DC10 |
| --- | --- | --- |
| Temp setting range | 0℃~100℃ | -10℃~100℃ |
| Temp range | RT+5℃~100℃ | RT.-30℃~100℃ |
| Time range | 1min ~ 99h59min/∞ | 1min ~ 99h59min/∞ |
| Temp accuracy | ≤±0.3℃* | ≤±0.3℃* |
| Display accuracy | 0.1℃ | 0.1℃ |
| Temp uniformity | ≤±0.3℃* | ≤±0.3℃* |
| Heating time | ≤12min(from 25℃ to 100℃)* | ≤12min(from 25℃ to 100℃)* |
| Cooling time |  | ≤10min(from 100℃ to 25℃)* |
| Cooling time |  | ≤25min(from RT. to RT.-30℃)* |
| AUTO-4℃ |  | Yes* |
| Multi points running | Yes(Max 5points) | Yes(Max 5points) |
| Multi points running circularly | Yes(Max 99times) | Yes(Max 99times) |
| Auto heating | Yes | Yes |
| Auto running | Yes | Yes |
| Auto resume to run | Yes | Yes |
| Power | 150W | 150W |
| Voltage | AC220V or AC110V / 50-60HZ | AC100~240V/50-60Hz |
| Fuse | 250V 3A Ф5×20 | 250V 3A Ф5×20 |
| Dimension(mm) | 260x195x150 | 260x195x150 |
| Weight | 2.5kg | 4.5kg |

Optional Blocks:

Type    Description

MD30    96×0.2ml

MD31    54×0.5ml

MD32    35×1.5ml

MD33    35×2.0ml

MD34    15×0.5ml+20×1.5ml

MD35    96×0.2ml（elisa plate）

MD36    24×5ml

MD37    15×10ml

MD38    12×15ml

MD39    6×50ml(round-shape bottom)

MD39-S  6×50ml(cone-shape bottom)