Mini Vortex Mixer—MIX1000

Description:

MIX1000 Mini Vortex Mixer is designed for “touch” mixing a variety of test tubes. With a 4.5mm orbit and adjustable speed of 1000-2800rpm, the mini vortex mixer instantly vortexes even the largest samples, including nearly full 50ml tubes. The small footprint allows it to be used on even the most crowded bench.

Features:

- Shaking speed: 1000-3500rpm.

- Powerful and reliable motor designed for daily laboratory use.

- “Touch” pressure activated operation.

- Accept a variety of test tubes, including the tubes up to 50ml.

- Mini-sized, allowing it to fit on even the most crowded bench.

Parameters:

| Model | MIX1000 |
| --- | --- |
| Speed | 1000-3500rpm |
| Type of motor activation | Touch pressure activated operation |
| Type of movement | Orbital |
| Orbit | 4.5mm |
| Max test tube size | Ф30mm |
| Max load | 0.1kg |
| Voltage | AC100-240V, 50/60Hz |
| Power | 24W |
| Dimension(mm) | 125×115×76 |
| Weight(kg) | 0.55 |