Shaker for Microplates—MS300

Description:

MS300 Shaker for Microplates is a high speed shaker with direct brushless DC motor and microprocessor controlled technique, specifically for elisa plate and cell culture plate. It can hold 2pcs elisa plates(96/384wells), deep-well plates and cell culture plates(24/48/96wells).

Features:

- LCD real-time display system status and parameters.

- Timer from 0 to 99h59min.

- Support 2 standard microplates and deep well plates.

- Brushless DC motor, low noise, small interference, free maintenance.

- The built-in status indicator allows the user to quickly get the status of the device.

- When timing ends, system will make an alarm voice automatically.

- Automatic fault detection and buzzer alarm function.

- With special fixing way, install and disassemble the plates quickly, don’t need the additional tool.

Parameters:

| Type Parameter | MS300 |
| --- | --- |
| Time range | 1min ~ 99h59min/∞ |
| Speed range | 200～2000rpm |
| Mixing orbit | 3mm |
| Speed step value | 10rpm |
| With status indicator light | Yes |
| Sample capacity | 2plates |
| Power | 45W |
| Voltage | DC24V/2A |
| Dimension(mm) | 294×200×107 |
| Weight(kg) | 3.8 |