Thermo Shaker (with heating lid)—TPS1000

Description:

TPS1000 Thermo Shaker (with heating lid) is a multipurpose thermostatic shaker controlled by brushless DC motor. Its PID intelligent temperature control technology ensures the temperature accuracy, automatically adjusts the heating rate and reduces waiting time. Heating lid independent temperature control function can effectively prevent sample evaporation and cross-infection. It is the ideal automation tool for sample incubation, catalysis, blending and preservation.

Features:

- LCD display. It is easy to setup and use.

- Accurate temperature control, high stability.

- Heating lid independent temperature control function can effectively prevent sample evaporation and cross-infection

- Built-in fan reduces sample cooling time.

- Optional blocks are available for common laboratory tubes and plates.

Custom blocks are also available upon request.

- Brushless DC Motor: noiseless long service life maintenance-free.

- Automatic preheating function.

- Auto resume to run after power failure.

- Automatic running function.

- Short mixing function.

- Built-in temperature calibration function.

- Built-in over-heating protection device, safe and reliable.

Applications:

- Storing enzymes or DNA libraries at your work station.

- Transporting samples from the field at exactly the right temperature.

- Heating samples in the field.

- Enzyme reactions and deactivations.

- PCR sample preparation.

Parameters:

| Model | TPS1000 |
| --- | --- |
| Temp. setting range | 0℃~105℃ |
| Temp. control range | RT.+5℃~105℃ |
| Time range | 1sec~99min59sec/1min~99h59min/∞ |
| Temp accuracy | ≤±0.3℃* |
| Display accuracy | 0.1℃ |
| Temp uniformity | ≤±0.3℃* |
| Speed range | 200~3000rpm |
| Orbit | 2mm |
| Heating time | ≤10min(from 25℃ to 100℃)* |
| Fan cooling time | ≤12min(from 100℃ to 37℃)* |
| Heating lid temp. setting range | OFF/AUTO/40℃~110℃ |
| Heating lid temp. control range | RT.+5℃~110℃ |
| Heating lid heating time | ≤10min(from 25℃ to 110℃)* |
| Heating lid independent temp. control function | Yes |
| Auto fan function | Yes |
| Program number | 10programs(S0~S9) |
| Multi point running | Yes(Max 5points) |
| Multi cycle | Yes(Max 99times) |
| Auto heating | Yes |
| Auto constant temperature at the end of run | Yes |
| Heating lid mode | Automatic / Manual |
| Auto running | Yes |
| Auto resume to run | Yes |
| Delay timing function | Yes |
| Power supply | 335W |
| Voltage | AC220V or AC110V/50-60Hz |
| Fuse | 250V 3A Ф5×20 |
| Dimension(mm) | 296x212x164 |
| Weight(kg) | 6.9 |

Optional blocks

| Type | Capacity | Temp range | Max Speed |
| --- | --- | --- | --- |
| MD30 | 96x0.2ml PCR Plate | RT.+5℃~105℃ | 2500rpm |
| MD31 | 54x0.5ml centrifuge tube | RT.+5℃~105℃ | 2500rpm |
| MD32 | 35x1.5ml centrifuge tube | RT.+5℃~105℃ | 2500rpm |
| MD33 | 35x2.0ml centrifuge tube | RT.+5℃~105℃ | 2500rpm |
| MD34 | 20x1.5ml+15x0.5ml | RT.+5℃~105℃ | 2500rpm |