Gel Card Centrifuge——BMC1000-24

Description:

BMC1000-24 Gel Card Centrifuge is a special centrifuge for Gel Cards that combines microprocessor control technology and automatic imbalance detection technology. It can be applicable for blood serology, routine blood group detection, red blood cell washing, column agglutination immunodetection experiments, etc. It has significant implication for clinical trials and analysis.

Gel Card Centrifuge can be suitable for many types gel cards from different manufacturers.

Features:

- Capacity: 24 Gel Cards(6-column/8-column)

- LCD display, DC brushless motor, controlled by microprocessor.

- RPM/RCF changeable.

- Low noise, free from carbon contamination.

- Balance test and unbalance alarm.

- Electronic lock, exceeding speed protect, system self test.

- Five programs for speed and time setting.

- Support multi points running function.

- Automatic running function.

- Auto resume to run after power failure.

Parameters:

| Model | BMC1000-24 |
| --- | --- |
| Capacity | 24 Gel Cards(6-column/8-column) |
| Speed range | 500~2200rpm |
| RCF range | 28~540g |
| Timing range | 1min~30min |
| Noise | ≤55db(A) |
| Multi-points running | Yes(Max. 5points) |
| Multi cycle | Yes(Max. 99times) |
| Auto resume to run | Yes |
| Automatic unbalance detection | Yes |
| Power | 150W |
| Voltage | AC220V or AC110V/50-60Hz |
| Dimension(mm) | 463×340×248 |
| Weight(kg) | 15.8 |