Centrifuge for Microplates--- HPC2500

Description:

Centrifuge for Microplates combines microprocessor control technology and automatic imbalance detection technology. It is suitable for a wide range of analytical applications including biochemistry, molecular biology, immunoenzyme analysis and general laboratory centrifugation.

Features:

- RPM/RCF changeable.

- LCD display, DC brushless motor, controlled by microprocessor.

- Low noise, free from carbon contamination.

- Balance test and unbalance alarm.

- Electronic lock, exceeding speed protect, system self test.

- Five programs for speed and time setting.

- Support multi points running function.

- Automatic running function.

- Auto resume to run after power failure.

Parameters:

| Model | HPC2500 |
| --- | --- |
| Speed range | 500~2500rpm |
| RCF range | 32~797g |
| Timing range | 1min~30min |
| Noise | ≤55db(A) |
| Multi-points running | Yes(Max. 5points) |
| Multi cycle | Yes(Max. 99times) |
| Auto resume to run | Yes |
| Automatic unbalance detection | Yes |
| Capacity | 2pcs Microplates or Deep-well plates |
| Power | 150W |
| Voltage | AC220V or AC110V/50-60Hz |
| Dimension(mm) | 463x340x248 |
| Weight(kg) | 15.7 |