Incubating Rocking Shaker—TRS1000

Description:

TRS1000 Incubating Rocking Shaker is a multi-purpose constant temperature rocking shaker which combines step motor and PID intelligent temperature control technology. It is designed to incubate samples from 5°C above ambient to 65°C to provide accurate and repeatable results. The Incubating Rocking Shaker combines smooth rocking motion and general purpose incubation.  It is ideal for cell culture work and are designed to be used in a variety of environmental conditions.

Features:

- LCD display for speed, tilt angle, temperature and time.

- See-saw like motion.

- With spill-resistant design, overload protection.

- Step motor: noiseless, less interference and maintenance-free.

- Transparent lid permits viewing samples without disturbing the internal

temperature.

- Support 5 custom procedures, convenient for quick use.

- Beep alarm when operation ends.

- Built-in temperature calibration function.

- Built-in over-heating protection device, safe and reliable.

Parameters:

| Model | TRS1000 |
| --- | --- |
| Temp setting range | 0°C~65°C |
| Temp control range | RT+5°C~65°C |
| Time range | 1min~99h59min/∞ |
| Temp accuracy | ≤±0.5°C@37°C |
| Display accuracy | 0.1°C |
| Temp uniformity | ≤±0.5°C@37°C |
| Speed range | 0~60rpm |
| Motion type | Rocking |
| Tilt angle | 0-15° |
| Heating time | ≤20min(from 25°C to 65°C) |
| Max. load | 5.0kg |
| Platform material | Aluminum |
| Platform dimension | 248x188mm |
| Power supply | 350W |
| Voltage | AC220V, 50-60Hz |
| Fuse | 250V 3A Ф5x20 |
| Dimension(mm) | 430x278x270mm |
| Weight | 11.7kg |