HANGZHOU RUICHENG INSTRUMENT CO., LTD.

Shaker for Microplates—MS500

[image: image2.png]ruICIHENG




Description:
MS500 Shaker for Microplates is a high speed shaker with direct brushless DC motor and microprocessor controlled technique. It can hold 6pcs different microplates or test tube racks.
Features:

LCD real-time display system status and parameters.

Timer from 1min to 99h59min.

Shaking speed: 200(2000rpm.
Spring clip mounting frame is capable of holding different microplates or test tube racks.
The shaking platform features five-point support, ensuring smooth operation and safety for samples.
Support 6 different microplates or test tube racks.

Brushless DC motor, low noise, small interference, free maintenance.
Auto resume to run after power failure.
Parameters:

	        Type

Parameter 
	MS500

	Time range
	1min(99h59min/∞

	Shaking speed
	200~2000rpm

	Orbit
	3mm

	Capacity
	6pcs elisa plates, cell culture plates, deep-well plates, PCR plates (full skirt),  384-well plates (full skirt), or similar-size test tube racks

	 Five-point support for shaking platform
	Yes

	Spring clip mounting frame
	Yes

	Auto resume to run
	Yes

	Power
	65W

	Voltage
	AC100(240V/50-60Hz

	Fuse
	250V  3A  Ф5×20

	Dimension(mm)
	340x320x158mm

	Weight(kg)
	15


[image: image1.jpg]



Hangzhou Ruicheng Instrument Co., Ltd.

Add：Building E, No.8 of Houshan Road, Yuhang District, Hangzhou City, Zhejiang Province, China  

Tel：0571-88630940  Fax：0571-85126370

Email: info@ruiwell.com, sales2@ruiwell.com  Website: http://www.ruiwell.net

