HANGZHOU RUICHENG INSTRUMENT CO., LTD.

Bead Bath—BD100
[image: image2.png]ruICIHENG




Description:

Bead bath is a high precision control instrument combined with microcomputer control technology and PID control method. Its PID intelligent temperature control technology can accurately ensure control temperature accuracy and automatically adjust the heating rate to save waiting time. It avoids the limitations of traditional dry bath’s block hole diameter, suitable for a variety of conventional laboratory containers, and adapt to any shape and volume of test tubes. It can be widely used in the cultivation of various samples, cell recovery, preservation and reaction, etc.

Features:

LCD display. It is easy to setup and use.

Accurate temperature control, high stability. 
Interior surfaces are of stainless steel for high durability and low maintenance.
Adjustable heating lid. Temperature of heating lid can be controlled.
An alarm voice sounds automatically at the end of the run.

Automatic preheating function.
Automatic constant temperature at the end of run.
Auto resume to run after power failure. 
Built-in temperature calibration function. 
Built-in over-heating protection device, safe and reliable. 
[image: image1.jpg]


Parameters
Project�
Parameters�
�
Temp. setting range�
0(C~100(C�
�
Temp. control range�
RT.+5(C~100(C�
�
Heating lid temp. setting range�
OFF~+15(C�
�
Time range�
1min~99h59min/∞�
�
Temp. accuracy�
≤±0.5(C@37(C�
�
Temp uniformity�
≤±1(C@37(C�
�
Display accuracy�
0.1(C�
�
Program number�
10programs(S1~S10)�
�
Auto preheating�
Yes�
�
Auto constant temp. at the end of run�
Yes�
�
Auto resume to run�
Yes�
�
Heating wait timing function �
Yes(0~99h59min)�
�
Power supply�
650W�
�
Voltage�
AC220V/50-60Hz�
�
Fuse�
250V 5A  Ф5×20�
�
Capacity�
25pcs 50ml centrifuge tube, 


9pcs 250ml culture medium square bottle,


3pcs 500ml culture medium square bottle(slanted placed)�
�
Tank interior dimension(mm)�
264x264x160�
�
Overall dimension(mm)�
481x346x228�
�
Weight(kg)�
10.1�
�










Hangzhou Ruicheng Instrument Co., Ltd.

Email: info@ruiwell.com, sales2@ruiwell.com  Website: http://www.ruiwell.net

