HANGZHOU RUICHENG INSTRUMENT CO., LTD.

Incubator for Microplates——DH400
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Description:
DH400 Incubator for Microplates is a kind of microprocessor controlled and PID controlled incubator. It is compact, versatile, reliable and easy to use. It is mainly used in elisa plates(96/384 wells) or 96 wells tissue culture plates for samples cultivation of incubation.
Features:

LCD display.
Easy to operate with one-touch knob. 

Microprocessor and temperature controlled with good liner, small fluctuations.

Double heating system ensures the stability of incubation.

Internal power supply provided is UL, CSA and CE approved.

Applications:

Сytochemistry — for in situ reactions

Immunochemistry — for immunofermentative reactions

Biochemistry — for enzyme and protein analysis

Molecular biology — for micro array analysis

Parameters:

	                    Type

Parameters
	DH400

	Temp. control range
	RT.+5℃~80℃ 

	Time range 
	1min~99h59min 

	Temp. accuracy
	≤±0.5℃ 

	Display accuracy 
	 0.1℃ 

	Temp. uniformity
	≤±0.5℃ 

	Heating time
	≤10min(from 25℃ to 80℃)

	Max. height of plate
	22mm

	Capacity
	2pcs microplates or culture plates

	Power
	120W

	Voltage
	AC220V or AC110V, 50/60Hz

	Dimension(mm)
	280×270×140

	Weight(kg)
	4.0
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