TSM100 Thermal Shaking Unit

TSM100 Thermal Shaking Unit integrates mixing and heating functions, with speed of 300~2000 rpm and temperature control range RT.+ 5℃~110℃. It operates smoothly with low noise and provides excellent mixing performance. It features an automatic clamping function and a central origin selfpositioning function, making it compatible with other precision motion automation equipment.

Features:

- The device features an automatic clamping function, which can automatically clamp and release plates or adapters, making it easy for robotic arms to pick up microplates and ensuring the safety and stability of adapters during high-speed shaking.

- The device features central origin self-positioning function, working with robotic arms to precisely clamp plates and pipettes for accurate liquid handling.

- The device integrates mixing and heating functions, simultaneous shaking and heating, or just heating or just shaking.

Basic parameters：

| Project | Parameter |
| --- | --- |
| Temp. setting range | 0℃~ 110℃ |
| Temp. control range | RT.+5℃~ 110℃ |
| Temp. accuracy | ≤±0.3℃ |
| Display accuracy | 0.1℃ |
| Temp. uniformity | ≤±0.5℃ |
| Speed range | 300~2000rpm |
| Orbit | 2mm |
| Power | 120W |
| Voltage | DC24V |
| Communication interface | 485 |
| Dimension | 160x115x93mm |
| Weight | 2.5kg |